{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["表-04 单位工程招标控制价汇总表","表-08 分部分项工程和单价措施项目清单与计价表","表-09 综合单价分析表（全费用）","表-21 承包人提供主要材料和工程设备一览表"],"read":"whole","date_system":"1900"}

{"sheet":"表-04 单位工程招标控制价汇总表","index":0,"n_rows":37,"n_cols":7,"rows_kept":37,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,4],[1,5,1,6],[2,2,2,3],[2,4,2,5],[3,2,3,3],[3,4,3,5],[4,2,4,3],[4,4,4,5],[5,2,5,3],[5,4,5,5],[6,2,6,3],[6,4,6,5],[7,2,7,3],[7,4,7,5],[8,2,8,3],[8,4,8,5],[9,2,9,3],[9,4,9,5],[10,2,10,3],[10,4,10,5],[11,2,11,3],[11,4,11,5],[12,2,12,3],[12,4,12,5],[13,2,13,3],[13,4,13,5],[14,2,14,3],[14,4,14,5],[15,2,15,3],[15,4,15,5],[16,2,16,3],[16,4,16,5],[17,2,17,3],[17,4,17,5],[18,2,18,3],[18,4,18,5],[19,2,19,3],[19,4,19,5],[20,2,20,3],[20,4,20,5],[21,2,21,3],[21,4,21,5],[22,2,22,3],[22,4,22,5],[23,2,23,3],[23,4,23,5],[24,2,24,3],[24,4,24,5],[25,2,25,3],[25,4,25,5],[26,2,26,3],[26,4,26,5],[27,2,27,3],[27,4,27,5],[28,2,28,3],[28,4,28,5],[29,2,29,3],[29,4,29,5],[30,2,30,3],[30,4,30,5],[31,2,31,3],[31,4,31,5],[32,2,32,3],[32,4,32,5],[33,2,33,3],[33,4,33,5],[34,0,34,1],[34,2,34,3],[34,4,34,5],[35,0,35,6],[36,0,36,2],[36,3,36,4],[36,5,36,6]]}
["单位工程投标报价汇总表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",null,null,"标段：",null,"第 1 页  共 1 页"]
["序号","汇总内容","费率(%)",null,"金额:(元)",null,"其中：暂估价(元)"]
["1","分部分项合计","200"]
["1.1","交通设施抢修"]
["1.2","护栏升级改造"]
["1.3","护栏翻新"]
["1.4","交通设施巡查"]
["1.5","交通警保卫"]
["1.6","交通组织优化"]
["1.7","场地交通安全设施"]
["2","措施合计"]
["2.1","绿色施工安全防护措施费"]
["2.2","其他措施费"]
["3","其他项目"]
["3.1","暂列金额"]
["3.2","暂估价"]
["3.3","计日工"]
["3.4","总承包服务费"]
["3.5","预算包干费"]
["3.6","工程优质费"]
["3.7","概算幅度差"]
["3.8","索赔费用"]
["3.9","现场签证费用"]
["3.10","其他费用"]
["4","税前工程造价"]
["5","增值税销项税额","0"]
["6","总造价"]
[]
[]
[]
[]
[]
[]
["合计=1+2+3+5"]
["注：本表适用于单位工程招标控制价或投标报价的汇总，如无单位工程划分，单项工程也使用本表汇总"]
[{"$nulls":5},"表—04"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":361,"n_cols":11,"rows_kept":361,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,7],[1,8,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,8],[2,9,2,11],[3,9,4,9],[3,10,4,11],[5,4,5,5],[5,7,5,8],[5,10,5,11],[6,4,6,5],[6,7,6,8],[6,10,6,11],[7,4,7,5],[7,7,7,8],[7,10,7,11],[8,4,8,5],[8,7,8,8],[8,10,8,11],[9,4,9,5],[9,7,9,8],[9,10,9,11],[10,0,10,6],[10,7,10,8],[10,10,10,11],[11,0,11,10],[12,0,12,4],[12,5,12,7],[12,8,12,10],[13,0,13,10],[14,0,14,4],[14,5,14,7],[14,8,14,10],[15,0,17,0],[15,1,17,1],[15,2,17,2],[15,3,17,3],[15,4,17,5],[15,6,17,6],[15,7,17,8],[15,9,15,11],[16,9,17,9],[16,10,17,11],[18,4,18,5],[18,7,18,8],[18,10,18,11],[19,4,19,5],[19,7,19,8],[19,10,19,11],[20,4,20,5],[20,7,20,8],[20,10,20,11],[21,4,21,5],[21,7,21,8],[21,10,21,11],[22,4,22,5],[22,7,22,8],[22,10,22,11],[23,4,23,5],[23,7,23,8],[23,10,23,11],[24,4,24,5],[24,7,24,8],[24,10,24,11],[25,0,25,6],[25,7,25,8],[25,10,25,11],[26,0,26,10],[27,0,27,4],[27,5,27,7],[27,8,27,10],[28,0,28,10],[29,0,29,4],[29,5,29,7],[29,8,29,10],[30,0,32,0],[30,1,32,1],[30,2,32,2],[30,3,32,3],[30,4,32,5],[30,6,32,6],[30,7,32,8],[30,9,30,11],[31,9,32,9],[31,10,32,11],[33,4,33,5],[33,7,33,8],[33,10,33,11],[34,4,34,5],[34,7,34,8],[34,10,34,11],[35,4,35,5],[35,7,35,8],[35,10,35,11],[36,4,36,5],[36,7,36,8],[36,10,36,11],[37,4,37,5],[37,7,37,8],[37,10,37,11],[38,4,38,5],[38,7,38,8],[38,10,38,11],[39,4,39,5],[39,7,39,8],[39,10,39,11],[40,4,40,5],[40,7,40,8],[40,10,40,11],[41,0,41,6],[41,7,41,8],[41,10,41,11],[42,0,42,10],[43,0,43,4],[43,5,43,7],[43,8,43,10],[44,0,44,10],[45,0,45,4],[45,5,45,7],[45,8,45,10],[46,0,48,0],[46,1,48,1],[46,2,48,2],[46,3,48,3],[46,4,48,5],[46,6,48,6],[46,7,48,8],[46,9,46,11],[47,9,48,9],[47,10,48,11],[49,4,49,5],[49,7,49,8],[49,10,49,11],[50,4,50,5],[50,7,50,8],[50,10,50,11],[51,4,51,5],[51,7,51,8],[51,10,51,11],[52,4,52,5],[52,7,52,8],[52,10,52,11],[53,4,53,5],[53,7,53,8],[53,10,53,11],[54,4,54,5],[54,7,54,8],[54,10,54,11],[55,4,55,5],[55,7,55,8],[55,10,55,11],[56,4,56,5],[56,7,56,8],[56,10,56,11],[57,0,57,6],[57,7,57,8],[57,10,57,11],[58,0,58,10],[59,0,59,4],[59,5,59,7],[59,8,59,10],[60,0,60,10],[61,0,61,4],[61,5,61,7],[61,8,61,10],[62,0,64,0],[62,1,64,1],[62,2,64,2],[62,3,64,3],[62,4,64,5],[62,6,64,6],[62,7,64,8],[62,9,62,11],[63,9,64,9],[63,10,64,11],[65,4,65,5],[65,7,65,8],[65,10,65,11],[66,4,66,5],[66,7,66,8],[66,10,66,11],[67,4,67,5],[67,7,67,8],[67,10,67,11],[68,4,68,5],[68,7,68,8],[68,10,68,11],[69,4,69,5],[69,7,69,8],[69,10,69,11],[70,4,70,5],[70,7,70,8],[70,10,70,11],[71,4,71,5],[71,7,71,8],[71,10,71,11],[72,0,72,6],[72,7,72,8],[72,10,72,11],[73,0,73,10],[74,0,74,4],[74,5,74,7],[74,8,74,10],[75,0,75,10],[76,0,76,4],[76,5,76,7],[76,8,76,10],[77,0,79,0],[77,1,79,1],[77,2,79,2],[77,3,79,3],[77,4,79,5],[77,6,79,6],[77,7,79,8],[77,9,77,11],[78,9,79,9],[78,10,79,11],[80,4,80,5],[80,7,80,8],[80,10,80,11],[81,4,81,5],[81,7,81,8],[81,10,81,11],[82,4,82,5],[82,7,82,8],[82,10,82,11],[83,4,83,5],[83,7,83,8],[83,10,83,11],[84,4,84,5],[84,7,84,8],[84,10,84,11],[85,4,85,5],[85,7,85,8],[85,10,85,11],[86,0,86,6],[86,7,86,8],[86,10,86,11],[87,0,87,10],[88,0,88,4],[88,5,88,7],[88,8,88,10],[89,0,89,10],[90,0,90,4],[90,5,90,7],[90,8,90,10],[91,0,93,0],[91,1,93,1],[91,2,93,2],[91,3,93,3],[91,4,93,5],[91,6,93,6],[91,7,93,8],[91,9,91,11],[92,9,93,9],[92,10,93,11],[94,4,94,5],[94,7,94,8],[94,10,94,11],[95,4,95,5],[95,7,95,8],[95,10,95,11],[96,4,96,5],[96,7,96,8],[96,10,96,11],[97,4,97,5],[97,7,97,8],[97,10,97,11],[98,4,98,5],[98,7,98,8],[98,10,98,11],[99,4,99,5],[99,7,99,8],[99,10,99,11],[100,4,100,5],[100,7,100,8],[100,10,100,11],[101,4,101,5],[101,7,101,8],[101,10,101,11],[102,4,102,5],[102,7,102,8],[102,10,102,11],[103,4,103,5],[103,7,103,8],[103,10,103,11],[104,0,104,6],[104,7,104,8],[104,10,104,11],[105,0,105,10],[106,0,106,4],[106,5,106,7],[106,8,106,10],[107,0,107,10],[108,0,108,4],[108,5,108,7],[108,8,108,10],[109,0,111,0],[109,1,111,1],[109,2,111,2],[109,3,111,3],[109,4,111,5],[109,6,111,6],[109,7,111,8],[109,9,109,11],[110,9,111,9],[110,10,111,11],[112,4,112,5],[112,7,112,8],[112,10,112,11],[113,4,113,5],[113,7,113,8],[113,10,113,11],[114,4,114,5],[114,7,114,8],[114,10,114,11],[115,4,115,5],[115,7,115,8],[115,10,115,11],[116,4,116,5],[116,7,116,8],[116,10,116,11],[117,4,117,5],[117,7,117,8],[117,10,117,11],[118,4,118,5],[118,7,118,8],[118,10,118,11],[119,4,119,5],[119,7,119,8],[119,10,119,11],[120,4,120,5],[120,7,120,8],[120,10,120,11],[121,4,121,5],[121,7,121,8],[121,10,121,11],[122,4,122,5],[122,7,122,8],[122,10,122,11],[123,4,123,5],[123,7,123,8],[123,10,123,11],[124,4,124,5],[124,7,124,8],[124,10,124,11],[125,0,125,6],[125,7,125,8],[125,10,125,11],[126,0,126,10],[127,0,127,4],[127,5,127,7],[127,8,127,10],[128,0,128,10],[129,0,129,4],[129,5,129,7],[129,8,129,10],[130,0,132,0],[130,1,132,1],[130,2,132,2],[130,3,132,3],[130,4,132,5],[130,6,132,6],[130,7,132,8],[130,9,130,11],[131,9,132,9],[131,10,132,11],[133,4,133,5],[133,7,133,8],[133,10,133,11],[134,4,134,5],[134,7,134,8],[134,10,134,11],[135,4,135,5],[135,7,135,8],[135,10,135,11],[136,4,136,5],[136,7,136,8],[136,10,136,11],[137,4,137,5],[137,7,137,8],[137,10,137,11],[138,4,138,5],[138,7,138,8],[138,10,138,11],[139,4,139,5],[139,7,139,8],[139,10,139,11],[140,4,140,5],[140,7,140,8],[140,10,140,11],[141,0,141,6],[141,7,141,8],[141,10,141,11],[142,0,142,10],[143,0,143,4],[143,5,143,7],[143,8,143,10],[144,0,144,10],[145,0,145,4],[145,5,145,7],[145,8,145,10],[146,0,148,0],[146,1,148,1],[146,2,148,2],[146,3,148,3],[146,4,148,5],[146,6,148,6],[146,7,148,8],[146,9,146,11],[147,9,148,9],[147,10,148,11],[149,4,149,5],[149,7,149,8],[149,10,149,11],[150,4,150,5],[150,7,150,8],[150,10,150,11],[151,4,151,5],[151,7,151,8],[151,10,151,11],[152,4,152,5],[152,7,152,8],[152,10,152,11],[153,4,153,5],[153,7,153,8],[153,10,153,11],[154,4,154,5],[154,7,154,8],[154,10,154,11],[155,4,155,5],[155,7,155,8],[155,10,155,11],[156,0,156,6],[156,7,156,8],[156,10,156,11],[157,0,157,10],[158,0,158,4],[158,5,158,7],[158,8,158,10],[159,0,159,10],[160,0,160,4],[160,5,160,7],[160,8,160,10],[161,0,163,0],[161,1,163,1],[161,2,163,2],[161,3,163,3],[161,4,163,5],[161,6,163,6],[161,7,163,8],[161,9,161,11],[162,9,163,9],[162,10,163,11],[164,4,164,5],[164,7,164,8],[164,10,164,11],[165,4,165,5],[165,7,165,8],[165,10,165,11],[166,4,166,5],[166,7,166,8],[166,10,166,11],[167,4,167,5],[167,7,167,8],[167,10,167,11],[168,4,168,5],[168,7,168,8],[168,10,168,11],[169,4,169,5],[169,7,169,8],[169,10,169,11],[170,4,170,5],[170,7,170,8],[170,10,170,11],[171,0,171,6],[171,7,171,8],[171,10,171,11],[172,0,172,10],[173,0,173,4],[173,5,173,7],[173,8,173,10],[174,0,174,10],[175,0,175,4],[175,5,175,7],[175,8,175,10],[176,0,178,0],[176,1,178,1],[176,2,178,2],[176,3,178,3],[176,4,178,5],[176,6,178,6],[176,7,178,8],[176,9,176,11],[177,9,178,9],[177,10,178,11],[179,4,179,5],[179,7,179,8],[179,10,179,11],[180,4,180,5],[180,7,180,8],[180,10,180,11],[181,4,181,5],[181,7,181,8],[181,10,181,11],[182,4,182,5],[182,7,182,8],[182,10,182,11],[183,4,183,5],[183,7,183,8],[183,10,183,11],[184,4,184,5],[184,7,184,8],[184,10,184,11],[185,4,185,5],[185,7,185,8],[185,10,185,11],[186,4,186,5],[186,7,186,8],[186,10,186,11],[187,4,187,5],[187,7,187,8],[187,10,187,11],[188,4,188,5],[188,7,188,8],[188,10,188,11],[189,4,189,5],[189,7,189,8],[189,10,189,11],[190,0,190,6],[190,7,190,8],[190,10,190,11],[191,0,191,10],[192,0,192,4],[192,5,192,7],[192,8,192,10],[193,0,193,10],[194,0,194,4],[194,5,194,7],[194,8,194,10],[195,0,197,0],[195,1,197,1],[195,2,197,2],[195,3,197,3],[195,4,197,5],[195,6,197,6],[195,9,195,11],[196,9,197,9],[198,4,198,5],[198,7,198,8],[198,10,198,11],[199,4,199,5],[199,7,199,8],[199,10,199,11],[200,4,200,5],[200,7,200,8],[200,10,200,11],[201,4,201,5],[201,7,201,8],[201,10,201,11],[202,4,202,5],[202,7,202,8],[202,10,202,11],[203,4,203,5],[203,7,203,8],[203,10,203,11],[204,4,204,5],[204,7,204,8],[204,10,204,11],[205,4,205,5],[205,7,205,8],[205,10,205,11],[206,4,206,5],[206,7,206,8],[206,10,206,11],[207,4,207,5],[207,7,207,8],[207,10,207,11],[208,4,208,5],[208,7,208,8],[208,10,208,11],[209,4,209,5],[209,7,209,8],[209,10,209,11],[210,4,210,5],[210,7,210,8],[210,10,210,11],[211,0,211,6],[211,7,211,8],[211,10,211,11],[212,0,212,10],[213,0,213,4],[213,5,213,7],[213,8,213,10],[214,0,214,10],[215,0,215,4],[215,5,215,7],[215,8,215,10],[216,0,218,0],[216,1,218,1],[216,2,218,2],[216,3,218,3],[216,6,218,6],[216,9,216,11],[217,9,218,9],[219,4,219,5],[219,7,219,8],[219,10,219,11],[220,4,220,5],[220,7,220,8],[220,10,220,11],[221,4,221,5],[221,7,221,8],[221,10,221,11],[222,4,222,5],[222,7,222,8],[222,10,222,11],[223,4,223,5],[223,7,223,8],[223,10,223,11],[224,4,224,5],[224,7,224,8],[224,10,224,11],[225,4,225,5],[225,7,225,8],[225,10,225,11],[226,4,226,5],[226,7,226,8],[226,10,226,11],[227,4,227,5],[227,7,227,8],[227,10,227,11],[228,4,228,5],[228,7,228,8],[228,10,228,11],[229,0,229,6],[229,7,229,8],[229,10,229,11],[230,0,230,10],[231,0,231,4],[231,5,231,7],[231,8,231,10],[232,0,232,10],[233,0,233,4],[233,5,233,7],[233,8,233,10],[234,0,236,0],[234,1,236,1],[234,2,236,2],[234,3,236,3],[234,6,236,6],[234,9,234,11],[235,9,236,9],[237,4,237,5],[237,7,237,8],[237,10,237,11],[238,4,238,5],[238,7,238,8],[238,10,238,11],[239,4,239,5],[239,7,239,8],[239,10,239,11],[240,4,240,5],[240,7,240,8],[240,10,240,11],[241,4,241,5],[241,7,241,8],[241,10,241,11],[242,4,242,5],[242,7,242,8],[242,10,242,11],[243,0,243,6],[243,7,243,8],[243,10,243,11],[244,0,244,10],[245,0,245,4],[245,5,245,7],[245,8,245,10],[246,0,246,10],[247,0,247,4],[247,5,247,7],[247,8,247,10],[248,0,250,0],[248,1,250,1],[248,2,250,2],[248,3,250,3],[248,6,250,6],[248,9,248,11],[249,9,250,9],[251,4,251,5],[251,7,251,8],[251,10,251,11],[252,4,252,5],[252,7,252,8],[252,10,252,11],[253,4,253,5],[253,7,253,8],[253,10,253,11],[254,4,254,5],[254,7,254,8],[254,10,254,11],[255,4,255,5],[255,7,255,8],[255,10,255,11],[256,4,256,5],[256,7,256,8],[256,10,256,11],[257,4,257,5],[257,7,257,8],[257,10,257,11],[258,4,258,5],[258,7,258,8],[258,10,258,11],[259,4,259,5],[259,7,259,8],[259,10,259,11],[260,4,260,5],[260,7,260,8],[260,10,260,11],[261,4,261,5],[261,7,261,8],[261,10,261,11],[262,4,262,5],[262,7,262,8],[262,10,262,11],[263,4,263,5],[263,7,263,8],[263,10,263,11],[264,0,264,6],[264,7,264,8],[264,10,264,11],[265,0,265,10],[266,0,266,4],[266,5,266,7],[266,8,266,10],[267,0,267,10],[268,0,268,4],[268,5,268,7],[268,8,268,10],[269,0,271,0],[269,1,271,1],[269,2,271,2],[269,3,271,3],[269,6,271,6],[269,9,269,11],[270,9,271,9],[272,4,272,5],[272,7,272,8],[272,10,272,11],[273,4,273,5],[273,7,273,8],[273,10,273,11],[274,4,274,5],[274,7,274,8],[274,10,274,11],[275,4,275,5],[275,7,275,8],[275,10,275,11],[276,4,276,5],[276,7,276,8],[276,10,276,11],[277,4,277,5],[277,7,277,8],[277,10,277,11],[278,4,278,5],[278,7,278,8],[278,10,278,11],[279,4,279,5],[279,7,279,8],[279,10,279,11],[280,4,280,5],[280,7,280,8],[280,10,280,11],[281,4,281,5],[281,7,281,8],[281,10,281,11],[282,4,282,5],[282,7,282,8],[282,10,282,11],[283,4,283,5],[283,7,283,8],[283,10,283,11],[284,4,284,5],[284,7,284,8],[284,10,284,11],[285,4,285,5],[285,7,285,8],[285,10,285,11],[286,4,286,5],[286,7,286,8],[286,10,286,11],[287,4,287,5],[287,7,287,8],[287,10,287,11],[288,4,288,5],[288,7,288,8],[288,10,288,11],[289,0,289,6],[289,7,289,8],[289,10,289,11],[290,0,290,10],[291,0,291,4],[291,5,291,7],[291,8,291,10],[292,0,292,10],[293,0,293,4],[293,5,293,7],[293,8,293,10],[294,0,296,0],[294,1,296,1],[294,2,296,2],[294,3,296,3],[294,6,296,6],[294,9,294,11],[295,9,296,9],[297,4,297,5],[297,7,297,8],[297,10,297,11],[298,4,298,5],[298,7,298,8],[298,10,298,11],[299,4,299,5],[299,7,299,8],[299,10,299,11],[300,4,300,5],[300,7,300,8],[300,10,300,11],[301,4,301,5],[301,7,301,8],[301,10,301,11],[302,4,302,5],[302,7,302,8],[302,10,302,11],[303,4,303,5],[303,7,303,8],[303,10,303,11],[304,4,304,5],[304,7,304,8],[304,10,304,11],[305,4,305,5],[305,7,305,8],[305,10,305,11],[306,4,306,5],[306,7,306,8],[306,10,306,11],[307,4,307,5],[307,7,307,8],[307,10,307,11],[308,0,308,6],[308,7,308,8],[308,10,308,11],[309,0,309,10],[310,0,310,4],[310,5,310,7],[310,8,310,10],[311,0,311,10],[312,0,312,4],[312,5,312,7],[312,8,312,10],[313,0,315,0],[313,1,315,1],[313,2,315,2],[313,3,315,3],[313,6,315,6],[313,9,313,11],[314,9,315,9],[316,4,316,5],[316,7,316,8],[316,10,316,11],[317,4,317,5],[317,7,317,8],[317,10,317,11],[318,4,318,5],[318,7,318,8],[318,10,318,11],[319,4,319,5],[319,7,319,8],[319,10,319,11],[320,4,320,5],[320,7,320,8],[320,10,320,11],[321,4,321,5],[321,7,321,8],[321,10,321,11],[322,4,322,5],[322,7,322,8],[322,10,322,11],[323,4,323,5],[323,7,323,8],[323,10,323,11],[324,4,324,5],[324,7,324,8],[324,10,324,11],[325,4,325,5],[325,7,325,8],[325,10,325,11],[326,4,326,5],[326,7,326,8],[326,10,326,11],[327,4,327,5],[327,7,327,8],[327,10,327,11],[328,0,328,6],[328,7,328,8],[328,10,328,11],[329,0,329,10],[330,0,330,4],[330,5,330,7],[330,8,330,10],[331,0,331,10],[332,0,332,4],[332,5,332,7],[332,8,332,10],[333,0,335,0],[333,1,335,1],[333,2,335,2],[333,3,335,3],[333,6,335,6],[333,9,333,11],[334,9,335,9],[336,4,336,5],[336,7,336,8],[336,10,336,11],[337,4,337,5],[337,7,337,8],[337,10,337,11],[338,4,338,5],[338,7,338,8],[338,10,338,11],[339,4,339,5],[339,7,339,8],[339,10,339,11],[340,4,340,5],[340,7,340,8],[340,10,340,11],[341,4,341,5],[341,7,341,8],[341,10,341,11],[342,4,342,5],[342,7,342,8],[342,10,342,11],[343,4,343,5],[343,7,343,8],[343,10,343,11],[344,4,344,5],[344,7,344,8],[344,10,344,11],[345,4,345,5],[345,7,345,8],[345,10,345,11],[346,4,346,5],[346,7,346,8],[346,10,346,11],[347,4,347,5],[347,7,347,8],[347,10,347,11],[348,4,348,5],[348,7,348,8],[348,10,348,11],[349,4,349,5],[349,7,349,8],[349,10,349,11],[350,4,350,5],[350,7,350,8],[350,10,350,11],[351,4,351,5],[351,7,351,8],[351,10,351,11],[352,4,352,5],[352,7,352,8],[352,10,352,11],[353,4,353,5],[353,7,353,8],[353,10,353,11],[354,4,354,5],[354,7,354,8],[354,10,354,11],[355,4,355,5],[355,7,355,8],[355,10,355,11],[356,4,356,5],[356,7,356,8],[356,10,356,11],[357,0,357,6],[357,7,357,8],[357,10,357,11],[358,0,358,6],[358,7,358,8],[358,10,358,11],[359,0,359,10],[360,0,360,4],[360,5,360,7],[360,8,360,10]],"merged_total":1023,"flags":["merged_cut"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":7},"第 1 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[null,null,"交通设施抢修"]
[1,"040205012001","2008-1式中心护栏","1、不含立柱\n2、横梁：热轧槽钢6.3\n3、栅栏：热轧圆钢中16\n4、栅栏连接板：热轧扁钢50* 50*5m\n5、栅栏筋板：热轧扁钢50*80*5mm\n6、与立柱连接螺栓/螺母：M10*25mm\n7、含制作、镀锌、喷漆、安装\n8、标准段规格：长2780mm高970mm详见2008-1式中心护栏设计图","m",null,1500,231.45]
[2,"040205018001","2008-1式中心护栏立柱","1、矩管60*80*3mm\n2、连接板(上)：热轧扁钢50*50*5mm\n3、连按板(下)：热轧扁钢50*40*8mm\n4、立柱连接螺栓/螺母：M10*150mm\n6、盖帽：热轧钢板60*80*4mm\n7、荧光黄绿反光膜：180*25mm\n8、规格：951*60*80，详见2008-1式中心护栏设计图","支",null,500,98.37]
[3,"030502002001","2008-1机动栏全底座","1、全铸铁\n2、含安装\n3、规格：400*320*180，字体样式要求详见2008-1机动栏全底座设计图","个",null,20,485.32]
[4,"030502002002","2008-1机动栏半底座","1、全铸铁\n2、含安装\n3、规格：400*160*180，字体样式要求详见2008-1机动栏半底座设计图","个",null,13,278.22]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 2 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[5,"040205012002","2008式人行护栏","1、不含立柱\n2、横梁：热轧槽钢6.3\n3、栅栏：热轧圆钢中16\n4、栅栏连接板：热轧扁钢50* 50*5m\n5、栅栏筋板：热轧扁钢50*80*5mm\n6、与立柱连接螺栓/螺母：M10*25mm\n7、含制作、镀锌、喷漆、安装\n8、标准段规格：长1896mm高920mm详见2008式人行护栏结构设计图","m",null,17,236.7]
[6,"040205018002","2008式人行护栏立柱","1、热轧钢管：φ76*4*1050mm\n2、连接板(上) ：热轧扁钢55*50* 5mm\n3、连接板(下)：60.7*40*8mm\n4、底座法兰盘：200*200* 12mm\n5、盖帽：φ76*3mm\n6、规格：φ76*4*1050mm，详见2008式人行护栏结构设计图","支",null,8,125.62]
[7,"040205012003","安装各式无基础护栏","仅安装","m",null,500,24.5]
[8,"040205012004","安装各式有基础护栏","仅安装","m",null,267,40.28]
[9,"030502002003","安装各式护栏底座","仅安装","个",null,213,12.55]
[10,"030502002004","拆除各式护栏底座","1、拆除各式护栏底座","个",null,213,12.55]
[11,"040205012005","拆除各式无基础护栏","1、拆除护栏","m",null,2300,24.29]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 3 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[12,"040205017001","防撞水泥石码","1、C30混凝土\n2、表面涂刷黄黑相问或蓝白相间树脂油漆\n3、上宽150mm，下宽500mm\n4、双侧预留孔φ83*2个\n5、吊孔φ50mm\n6、含安装\n7、规格：1500*750mm，详见防撞石马结构设计图","个",null,33,776.34]
[13,"040205012006","单面波形梁钢护栏","1.规格：4000*310mm\n2.包含安装\n3.详见单面波形梁钢护栏结构设计图","m",null,17,302.1]
[14,"040205012007","双面波形梁钢护栏","1.规格：4000*310mm\n2.包含安装\n3.详见双面波形梁钢护栏结构设计图","m",null,67,569.15]
[15,"040205018003","波形梁钢护栏单端头","1、材料：波纹护栏单端头\n2、安装","个",null,1,223.72]
[16,"040205018004","波形梁钢护栏双端头","1、材料：波形梁钢护栏双端头\n2、安装","个",null,2,387.22]
[17,"040205012008","中心防撞墙护栏","1、材料：3000*710mm中心防撞护栏制作\n2、处理：热镀锌处理\n3、防腐处理：喷漆二遍\n4、安装（不含底座）\n5、详见中心防撞墙护栏结构设计图纸","m",null,50,209.45]
[18,"040205017002","反光轮廓标","1、材料：反光轮廓标（附着式）\n2、安装\n3、规格：180*40mm","个",null,28,25.7]
[19,"040205017003","带状轮廓标","1、材料：荧光黄绿（橙）钻石级反光膜，波浪形\n2、安装","m2",null,33,619.75]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 4 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[20,"040205018005","示警桩h1200","1、φ114*4mm钢管\n2、高1200mm\n3、外贴三类反光膜Ⅰ\n4、制作，安装\n5、综合考虑基础\n6、详见警示桩结构设计图","支",null,175,345.85]
[21,"040205018006","示警桩h600","1、φ114*4mm钢管\n2、高600mm\n3、外贴三类反光膜Ⅰ\n4、制作，安装\n5、综合考虑基础\n6、详见警示桩结构设计图","支",null,19,231.4]
[22,"040205018007","安装示警桩","仅安装","支",null,7,94.09]
[23,"040205018008","拆除示警桩","拆除外运","支",null,8,39.09]
[24,"040205017004","反光消能桶Φ600mm","1、玻璃钢纤维、三级反光膜\n2、安装\n3、规格：φ600*800mm，详见反光消能桶设计图","个",null,7,472.97]
[25,"040205017005","反光消能桶Φ800mm","1、玻璃钢纤维、三级反光膜\n2、安装\n3、规格：φ800*800mm，详见反光消能桶设计图","个",null,24,658.27]
[26,"040205017006","反光消能桶Φ1000mm","1、玻璃钢纤维、三级反光膜\n2、安装\n3、规格：φ1000*800mm，详见反光消能桶设计图","个",null,3,985.27]
[27,"040205018009","太阳能警示柱","1、外壳钣金\n2、单晶硅太阳能电池，36颗以上高亮LED光源，满电连续工作时间≥120小时；\n3、安装\n4、规格尺寸：1150*200*200mm\n5、详见电子示警桩设计图","套",null,8,419.92]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 5 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[28,"040205018010","柔性反光桩","1、弹力TPU橡胶，红色活绿色\n2、黄色或白色柔性反光膜，反光系数达到Ⅳ类标准\n3、安装\n4、规格尺寸：φ≥75mm，h≥615mm\n5、详见柔性反光桩标设计图","支",null,100,169.22]
[29,"040205017007","反光道钉Ⅰ","1、A1类微棱镜结构反光片:\n2、抗压强度>230KN;耐磨层\n逆反射系数≥规定值70%:\n3、使用寿命不少于3年:\n4、包安装。\n5、规格尺寸：≥103*103*20mm\n6、详见反光道钉设计图","只",null,200,33.33]
[30,"040205017008","反光道钉Ⅱ","1、全铝合金:重量0.32kg\n2、微棱镜反射体:抗压强度>230KN\n3、反光器表面硬度(耐磨指数)摩氏硬度>5级\n4、使用寿命不少于3年\n5、包安装\n6、规格尺寸：100*100*18mm\n7、详见反光道钉设计图","只",null,33,34.42]
[31,"040205018011","安装08-1式中心护栏立柱","仅安装，不含材料","支",null,33,31.27]
[32,"040205018012","安装08式人行栏立柱","仅安装，含C25混凝土基础","支",null,33,52.75]
[null,null,"交通设施抢修合计"]
[null,null,"护栏升级改造"]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 6 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[33,"040205012009","2008-1式中心护栏","1、不含立柱\n2、横梁：热轧槽钢6.3\n3、栅栏：热轧圆钢中16\n4、栅栏连接板：热轧扁钢50* 50*5m\n5、栅栏筋板：热轧扁钢50*80*5mm\n6、与立柱连接螺栓/螺母：M10*25mm\n7、含制作、镀锌、喷漆、安装\n8、标准段规格：长2780mm高970mm详见2008-1式中心护栏设计图","m",null,800,231.45]
[34,"040205018013","2008-1式中心护栏立柱","1、矩管60*80*3mm\n2、连接板(上)：热轧扁钢50*50*5mm\n3、连按板(下)：热轧扁钢50*40*8mm\n4、立柱连接螺栓/螺母：M10*150mm\n6、盖帽：热轧钢板60*80*4mm\n7、荧光黄绿反光膜：180*25mm\n8、规格：951*60*80，详见2008-1式中心护栏设计图","支",null,580,98.37]
[35,"030502002005","2008-1机动栏全底座","1、全铸铁\n2、含安装\n3、规格：400*320*180，字体样式要求详见2008-1机动栏全底座设计图","个",null,1160,485.32]
[36,"030502002006","2008-1机动栏半底座","1、全铸铁\n2、含安装\n3、规格：400*160*180，字体样式要求详见2008-1机动栏半底座设计图","个",null,120,278.22]
[37,"040205012010","拆除各式无基础护栏","1、拆除护栏\n2、外运","m",null,1800,21.51]
[38,"040205012011","拆除各式有基础护栏","1、拆除护栏\n2、拆除基础\n3、外运","m",null,1000,22.17]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 7 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[39,"040205012012","全塑机动车道护栏","1.全塑机动车道护栏3100*1050mm\n2.平口型\n3.注浆底座、安装\n4.详见全塑机动车道护栏设计图","m",null,283,422]
[40,"040205012013","机非分隔护栏","1.机非分隔护栏2780*670mm，含立柱\n2.制作、镀锌、喷漆、安装\n3.详见机非分隔护栏设计图","m",null,5800,214.9]
[41,"041106001001","3T工程车","1、含操作人员费用","台班",null,20,363.41]
[42,"041106001002","5T工程车","1、含操作人员费用","台班",null,10,403.02]
[43,"040205024001","人工",null,"工日",null,100,196.2]
[null,null,"护栏升级改造合计"]
[null,null,"护栏翻新"]
[44,"040205012014","现场翻新各式护栏","1、在安装好的原有旧护栏上翻新\n2、含清洗、除锈、红丹防腐处理\n3、喷涂白漆两遍\n4、不含拆除、运输及安装，含维持交通各类措施","m",null,1600,37.44]
[45,"040205012015","场内翻新各式护栏","1、旧护栏翻新\n2、含清洗、除锈、红丹防腐处理\n3、喷涂白漆两遍\n4、不含拆除、运输及安装，含维持交通各类措施","m",null,1600,37.44]
[46,"040205018014","现场翻新示警桩h1200mm","1、在安装好的原有示警桩上翻新\n2、含清洗、铲除旧膜、除锈、贴三级反光膜\n3、不含拆除、运输及安装，含维持交通各类措施","支",null,36,70.59]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 8 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[47,"040205018015","现场翻新示警桩h600mm","1、在安装好的原有示警桩上翻新\n2、含清洗、铲除旧膜、除锈、贴三级反光膜\n3、不含拆除、运输及安装，含维持交通各类措施","支",null,7,42]
[48,"040205018016","翻新水泥石马（反光漆）","1、翻新水泥石马（反光漆，涂刷2遍）\n2、含清洗、油漆\n3、不含拆除、运输及安装，含维持交通各类措施","个",null,67,197.84]
[49,"040205018017","翻新水泥石马（调和漆）","1、翻新水泥石马（调和漆，涂刷2遍）\n2、含清洗、油漆\n3、不含拆除、运输及安装，含维持交通各类措施","个",null,39,111.74]
[null,null,"护栏翻新合计"]
[null,null,"交通设施巡查"]
[50,"041106001003","3T工程车","1、含操作人员费用","台班",null,620,363.41]
[51,"040205024002","人工",null,"工日",null,2000,196.2]
[null,null,"交通设施巡查合计"]
[null,null,"交通警保卫"]
[52,"041106001004","3T工程车","1、含操作人员费用","台班",null,239,363.41]
[53,"041106001005","5T工程车","1、含操作人员费用","台班",null,33,403.02]
[54,"040205024003","人工",null,"工日",null,630,196.2]
[55,"040205012016","05式活动护栏","1、框架:中25mm碳素结构钢\n2、栅栏:中16mm钢筋\n3、支架(支撑脚):中3025mm碳素结构钢\n4、固定用耳朵螺母M16\n5、整体质量≥23.44kg\n6、含氧、酚醛树漆、热镀锌\n7、规格：1985*900mm","排",null,300,552.66]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 9 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[56,"040205004001","抗风A字活动标志底板","1、抗风A字活动标志底板\n2、全铝合金，多孔透风，抗8级以上大风；\n3、反光膜（无金属镀层）平整无气泡，白色量度因数Y≥0.27，其他颜色0.15≥Y≥0.02。","m2",null,7,1265.26]
[57,"040205004002","抗风A字活动标志框架","1、抗风A字活动标志框架\n2、外、中、内框均为35*25*1mm铝方管；太阳能充电，含两组警示信号灯，可视距离≥300m；便携可折叠。","m",null,20,174.4]
[58,"040205012017","维修活动护栏","1、在原有损坏钢材的基础上维修\n2、含缺枝钢材的制作及防腐处理（酸洗、水洗、脱脂处理，阴极电泳，喷粉）\n3、含补回缺枝的材料制作，不含拆除、运输及安装","套",null,150,45.58]
[59,"040205004003","维修活动标志","1、在原有损坏活动标志的基础上维修\n2、含缺枝钢材的制作及防腐处理（酸洗、水洗、脱脂处理，阴极电泳，喷粉）\n3、含补回缺枝的材料制作，不含拆除、运输及安装","套",null,133,56.57]
[60,"040205004004","即时贴","1、即时贴\n2、安装","m2",null,29,80.81]
[61,"040205005001","Ⅲ类反光膜Ⅰ","密封胶囊式玻璃珠结构；高强级反光膜","m2",null,59,141.7]
[62,"040205005002","Ⅲ类反光膜Ⅱ","密封胶囊式玻璃珠结构；高强级反光膜","m2",null,33,87.2]
[63,"040205009001","标志铲膜","1、标志铲膜","m2",null,20,32.94]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 10 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[64,"040205018018","示警筒","1、材料采用高强度环保塑料或玻璃钢:\n2、底宽≥400mm:\n3、Ⅲ类反光膜，反光膜0.35m2/个\n4、规格：h≥700mm，a≥400mm\n5、含安装\n6、详见示警筒设计图","个",null,175,96.92]
[65,"040205018019","太阳能发光路锥","1、椎体HDPE:闪烁发光\n2、柔性棱晶体反光晶格片: 可视≥800m\n3、 有开启键。\n4、规格：890*420*420mm\n5、含安装","个",null,175,145.97]
[66,"040205003001","警戒带","1、警戒带120m","卷",null,33,43.6]
[67,"040205004005","镀锌刺铁丝12#","1、在立柱上架设镀锌刺铁丝（不含立柱及基础）\n2、安装、拆除等","m",null,100,15.26]
[68,"040205004006","三脚式活动标志架","1、立杆:中30*3* 1500mm钢管\n2、支撑架:中16*3*600mm钢管\n3、含安装\n4、详见三角支架设计图","个",null,13,196.2]
[69,"040205004007","报纸夹式活动标志架","1、框架及支撑杆: Q235碳素结构钢20*20*3mm:\n2、钢链: D=中3mm, L=350mm;\n3、合页:不锈钢25*80*φ10\n4、含安装\n5、规格：1300*650mm","个",null,13,545]
[70,"040205017009","防撞水码Ⅰ","1、低密度聚乙烯(LLDPE)，厚度≥5mm;\n2、上宽270mm， 下宽480mm;\n3、不含反光膜:反光膜按实际使用量另外计算。\n4、规格：1440*800mm\n5、含安装","个",null,100,669.17]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 11 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[71,"040205017010","防撞水码Ⅱ","1、低密度聚乙烯(LLDPE)，厚度≥5mm;\n2、上宽190mm， 下宽430mm;\n3、不含反光膜:反光膜按实际使用量另外计算。\n4、规格：1500*800mm\n5、含安装","个",null,100,669.17]
[72,"040205004008","移动爆闪灯","1、材质：铝型材\n2、灯珠颗数≥20颗/组\n3、太阳能、物理电池互换\n4、含固定三角架或固定箱架、立柱，及共反光标识\n5、规格：500mm≤L≤600mm 130mm≤H≤180mm 135mm≤W≤300mm，详见移动爆闪灯设计图\n6、含安装","盏",null,5,1090]
[null,null,"交通警保卫合计"]
[null,null,"交通组织优化"]
[73,"040205024004","助理工程师","交通工程或交通设施管理方面助理工程师","工日",null,40,360]
[74,"040205024005","工程师","工程师","工日",null,40,600]
[75,"040205012018","2008式人行护栏","1、不含立柱\n2、横梁：热轧槽钢6.3\n3、栅栏：热轧圆钢中16\n4、栅栏连接板：热轧扁钢50* 50*5m\n5、栅栏筋板：热轧扁钢50*80*5mm\n6、与立柱连接螺栓/螺母：M10*25mm\n7、含制作、镀锌、喷漆、安装\n8、标准段规格：长1896mm高920mm详见2008式人行护栏结构设计图","m",null,33,236.7]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 12 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[76,"040205018020","2008式人行护栏立柱","1、热轧钢管：φ76*4*1050mm\n2、连接板(上) ：热轧扁钢55*50* 5mm\n3、连接板(下)：60.7*40*8mm\n4、底座法兰盘：200*200* 12mm\n5、盖帽：φ76*3mm\n6、规格：φ76*4*1050mm，详见2008式人行护栏结构设计图","支",null,17,125.62]
[77,"040205004009","发光标志","1、半透或全透发光，电网接入\n2、铝合金板材，夜问有效动态视认距离≥210米，静态视认距离≥250米:\n3、白冷光LED发光二极管、导光板:接入220v,输出24v","m2",null,20,2518.76]
[78,"040205005003","Ⅲ类反光膜Ⅰ","密封胶囊式玻璃珠结构；高强级反光膜","m2",null,183,141.7]
[79,"040205005004","Ⅲ类反光膜Ⅱ","密封胶囊式玻璃珠结构；高强级反光膜","m2",null,183,87.2]
[80,"040205005005","Ⅳ类反光膜Ⅰ","微校镜型结构， 超强级反光膜","m2",null,14,299.75]
[81,"040205005006","Ⅳ类反光膜Ⅱ","微校镜型结构， 超强级反光膜","m2",null,14,130.8]
[82,"040205005007","Ⅴ类反光膜Ⅰ","微校镜型结构， 超强级反光膜","m2",null,5,534.1]
[83,"040205005008","Ⅴ类反光膜Ⅱ","微校镜型结构， 超强级反光膜","m2",null,5,272.5]
[84,"040205005009","荧光黄绿（橙）反光膜Ⅰ","1、V类荧光黄绿(橙)\n2、全校镜结构，不含金属镀层:","m2",null,15,545]
[85,"040205005010","荧光黄绿（橙）反光膜Ⅱ","1、V类荧光黄绿(橙)\n2、全校镜结构，不含金属镀层:","m2",null,5,414.2]
[86,"040205005011","数码打印Ⅳ类反光膜","微校镜型结构， 超强级反光膜；数码打印","m2",null,20,359.7]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 13 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[87,"040205005012","数码打印Ⅴ类反光膜","微校镜型结构， 超强级反光膜；数码打印","m2",null,20,523.2]
[88,"040205004010","铝板","1、铝合金板3mm\n2、制作，安装","m2",null,33,415.06]
[89,"040205004011","铝槽","1、材料：铝槽55*10*3\n2、制作，安装\n3、其他","m",null,96,59.95]
[90,"040205004012","铝槽","1、材料：铝槽120*18*4\n2、制作，安装\n3、其他","m",null,24,81.75]
[91,"040205003002","单立杆φ60","1、材料：φ60*2.75mm.钢管\n2、防腐处理：杆件结构采用热浸镀锌防腐处理\n3、安装，不含基础","m",null,60,120.88]
[92,"040205003003","单立杆φ76","1、材料：φ76*3.75mm.钢管\n2、防腐处理：杆件结构采用热浸镀锌防腐处理\n3、安装，不含基础","m",null,121,153.58]
[93,"040205003004","单立杆φ89","1、材料：φ76*3.75mm.钢管\n2、防腐处理：杆件结构采用热浸镀锌防腐处理\n3、安装，不含基础","m",null,68.5,175.38]
[94,"040205004013","安装标志","1.安装标志（不含材料）","m2",null,3,61.45]
[95,"040205004014","拆除标志<2㎡","1、拆除标志<2㎡\n2、含外运","块",null,3,56.85]
[96,"040205004015","拆除标志≥2㎡","1、拆除标志≥2㎡\n2、含外运","m2",null,3,61.45]
[97,"040205009002","标志铲膜","1、标志铲膜","m2",null,80,32.94]
[98,"040303002001","混凝土基础","1、挖土、运土运距综合考虑\n2、回填土人工夯实\n3、现浇C25砼\n4、预埋铁件","m3",null,4.24,1362.01]
[99,"040303002002","单立杆基础（500*500*950mm）","1、挖土方、回填及余方弃置\n2、浇筑C25混凝土基础","个",null,17,193.56]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 14 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[100,"040205004016","广角镜Ф800mm","1、在立柱上安装广角镜Φ800mm（不含立柱及基础）\n2、综合考虑：运距","个",null,13,720.26]
[101,"041106001006","吊车","1、含操作人员费用","台班",null,9,1187.97]
[102,"041106001007","升车","1、含操作人员费用","台班",null,11,858.36]
[103,"041106001008","8T工程车","1、含操作人员费用","台班",null,4,481]
[104,"041106001009","3T工程车","1、含操作人员费用","台班",null,16,363.41]
[105,"041106001010","5T工程车","1、含操作人员费用","台班",null,7,403.02]
[106,"040205024006","人工",null,"工日",null,54,196.2]
[107,"040205006001","热熔划线","1、主成分：合成树脂：\n2、玻璃珠：内混、外洒.含量 18%-25%：\n3、抗滑性BPN:≥45：\n4、抗压：≥12MPa：\n5、厚度：1.5-2.0mm：\n6、新划逆反射系数：白色≥150mcd/a2 *lx.黄色≥\nlOOmcd/a2 *lx；\n7、运行逆反射系数：白色≥80mcd/m2 *lx、黄色≥\n50mcd/m2 *lx・","m2",null,1267,54.26]
[108,"040205006002","冷涂划线","1、油漆：常温型氯化橡胶涂料\n2、规格:按国标","m2",null,296,22.74]
[109,"040205006003","双组份标线（喷涂）","1、主成分：常温反应型活性丙烯酸树脂：\n2、施划工艺：喷涂：\n3、玻璃珠：外洒，0.5-1.2kg/m2;\n4、固化剂:2-4%：\n5、稀释剂：1.5-2%：\n6、厚度：0.6-1.2mm：\n7、新划逆反射系數：白色≥350mcd/m2 *lx、黄色≥\n200mcd/m2 *lx・","m2",null,100,93.94]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 15 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[110,"040205006004","双组份标线（甩涂）","1、主成分：常温反应型活性丙烯酸树脂：\n2、施划工艺：甩涂：\n3、玻璃珠：内混、外洒，0.5-0.8kg/m2;\n4、固化剂:11.5-2%：\n5、稀释剂：1.5-2%：\n6、厚度：2-4mm：\n7、新划逆反射系數：白色≥350mcd/m2 *lx、黄色≥\n200mcd/m2 *lx","m2",null,100,154.49]
[111,"040205006005","双组份标线（刮涂）","1、主成分：常温反应型活性丙烯酸树脂：\n2、施划工艺：刮涂：\n3、玻璃珠：内混、外洒，0.5-1.2kg/m2;\n4、固化剂:11.5-2%：\n5、稀释剂：1.5-2%：\n6、厚度：1.5-2.0mm：\n7、新划逆反射系數：白色≥400mcd/m2 *lx、黄色≥\n200mcd/m2 *lx","m2",null,100,154.49]
[112,"040205006006","热熔雨夜标线","1、涂料配方组成：有机物含量≥19%：钛白粉≥10%：有机填料≤42%：\n2、涂料配方主要技术指标：密度2-2. 6g/m3：软化点不低于105° C：玻璃珠含量≥25%：抗压强≥15Mpa:厚度≥1. 8mm。\n3、表面撤播雨夜珠≥200g/m2、玻璃珠≥200g/m2：\n4、新划逆反射系数：干燥状态≥350mcd/m2 *lx.潮湿状态≥200mcd/m2 *lx.","m2",null,33,152.6]
[113,"040205006007","双组份雨夜标线","1.双组份雨夜标线","m2",null,33,163.5]
[114,"040205006008","粘贴标线带Ⅰ","预成塑标线带；合成橡胶、树脂，玻璃微珠。","m2",null,50,599.5]
[115,"040205006009","粘贴标线带Ⅱ","预成塑标线带；合成橡胶、树脂，玻璃微珠。","m2",null,50,294.3]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 16 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[116,"040205007001","直行导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,62,353.33]
[117,"040205007002","直行导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,7,145.94]
[118,"040205007003","转弯导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,48,368.69]
[119,"040205007004","转弯导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,2,153.62]
[120,"040205007005","复式导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,26,399.41]
[121,"040205007006","复式导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,2,176.66]
[122,"040205007007","掉头导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,17,368.69]
[123,"040205007008","掉头导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,2,153.62]
[124,"040205007009","路面文字600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,4,724.43]
[125,"040205007010","路面文字300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,52,304.26]
[126,"040205007011","路面文字200cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,50,241.48]
[127,"040205007012","路面文字100cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,51,173.86]
[128,"040205007013","人行道预告标志（60*120cm）","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,8,69.54]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 17 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[129,"040205007014","人行道预告标志（150*300cm）","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,9,217.33]
[130,"040205007015","非机动车道标记（60*120cm）","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,3,69.54]
[131,"040205007016","减速让行标记（120*300cm）","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,6,191.25]
[132,"040205009003","铲除标线","1、磨机或火烧铲除后喷涂沥青油","m2",null,271,32.99]
[133,"040205009004","铲除直行导向箭头600cm","1、磨机或火烧铲除后喷涂沥青油","个",null,26,65.98]
[134,"040205009005","铲除直行导向箭头300cm","1、磨机或火烧铲除后喷涂沥青油","个",null,11,32.99]
[135,"040205009006","铲除转弯导向箭头600cm","1、磨机或火烧铲除后喷涂沥青油","个",null,20,85.77]
[136,"040205009007","铲除转弯导向箭头300cm","1、磨机或火烧铲除后喷涂沥青油","个",null,5,42.89]
[137,"040205009008","铲除复式导向箭头600cm","1、磨机或火烧铲除后喷涂沥青油","个",null,15,112.16]
[138,"040205009009","铲除复式导向箭头300cm","1、磨机或火烧铲除后喷涂沥青油","个",null,7,56.08]
[139,"040205009010","铲除掉头导向箭头600cm","1、磨机或火烧铲除后喷涂沥青油","个",null,6,85.77]
[140,"040205009011","铲除掉头导向箭头300cm","1、磨机或火烧铲除后喷涂沥青油","个",null,9,42.89]
[141,"040205009012","铲除文字600cm","1、磨机或火烧铲除后喷涂沥青油","个",null,9,287]
[142,"040205009013","铲除文字300cm","1、磨机或火烧铲除后喷涂沥青油","个",null,22,98.97]
[143,"040205009014","铲除文字200cm","1、磨机或火烧铲除后喷涂沥青油","个",null,5,49.48]
[144,"040205009015","铲除文字100cm","1、磨机或火烧铲除后喷涂沥青油","个",null,5,23.09]
[145,"040205009016","铲除人行横道预告标志（60*120cm)","1、磨机或火烧铲除后喷涂沥青油","个",null,5,23.75]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 18 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[146,"040205009017","铲除人行横道预告标志（150*300cm)","1、磨机或火烧铲除后喷涂沥青油","个",null,5,148.45]
[147,"040205009018","铲除非机动车道标记（60*120cm)","1、磨机或火烧铲除后喷涂沥青油","个",null,5,23.75]
[148,"040205009019","铲除减速让行标记（120*300cm)","1、磨机或火烧铲除后喷涂沥青油","个",null,4,118.76]
[149,"040205009020","高压水除标线","1、高压水枪加磨机清除后喷涂沥青油","m2",null,266,53.81]
[null,null,"交通组织优化合计"]
[null,null,"场地交通安全设施"]
[150,"040205012019","拆除各式有基础护栏","1、拆除护栏\n2、拆除基础\n3、外运\n4、恢复路面","m",null,50,22.17]
[151,"040205012020","场内分隔护栏","1、规格：3080*700mm\n2、型钢、方钢、铸铁底座\n3、含制作、镀锌、喷漆、安装","m",null,367,187.65]
[152,"040205009021","铲除标线","1、磨机或火烧铲除后喷涂沥青油","m2",null,420,32.99]
[153,"040205006010","热熔划线","1、主成分：合成树脂：\n2、玻璃珠：内混、外洒.含量 18%-25%：\n3、抗滑性BPN:≥45：\n4、抗压：≥12MPa：\n5、厚度：1.5-2.0mm：\n6、新划逆反射系数：白色≥150mcd/a2 *lx.黄色≥\nlOOmcd/a2 *lx；\n7、运行逆反射系数：白色≥80mcd/m2 *lx、黄色≥\n50mcd/m2 *lx・","m2",null,866,54.26]
[154,"040205007017","直行导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,5,145.94]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 19 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[155,"040205007018","转弯导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,5,153.62]
[156,"040205007019","复式导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,5,176.66]
[157,"040205007020","掉头导向箭头300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,5,153.62]
[158,"040205007021","直行导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,4,353.33]
[159,"040205007022","转弯导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,4,368.69]
[160,"040205007023","复式导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,4,399.41]
[161,"040205007024","掉头导向箭头600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,4,368.69]
[162,"040205007025","路面文字600cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,5,724.43]
[163,"040205007026","路面文字300cm","1、油漆：热熔型反光环保涂料\n2、规格:按国标","个",null,11,304.26]
[164,"040205005013","Ⅲ类反光膜Ⅰ","密封胶囊式玻璃珠结构；高强级反光膜","m2",null,19,141.7]
[165,"040205004017","铝板","1、铝合金板3mm\n2、制作，安装","m2",null,19,415.06]
[166,"040205018021","示警筒","1、材料采用高强度环保塑料或玻璃钢:\n2、底宽≥400mm:\n3、Ⅲ类反光膜，反光膜0.35m2/个\n4、规格：h≥700mm，a≥400mm\n5、含安装\n6、详见示警筒设计图","个",null,166,96.92]
["本页小计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":4},"标段：",null,null,"第 20 页  共 20 页"]
["序号","项目编码","项目名称","项目特征描述","计量单位",null,"工程量","综合单价最高限价",null,"金额（元）"]
[{"$nulls":9},"综合单价","综合合价"]
[]
[167,"040205019001","梯形橡胶减速带","1、规格：490x330x50m：\n2、橡胶：\n3、黄黑相间：\n4、含安装.","m",null,76,172.11]
[168,"040205019002","橡胶护墙角","1、规格：800x100x8 (6)mm\n2、高强度根胶：\n3、工程级反光膜；\n4、含安装","个",null,100,26.72]
[169,"040205019003","橡胶挡车器","1、规格：560mm*160mm*110mm\n2、高强度实心橡胶\n3、工程级反光膜；\n4、含安装","个",null,100,92.53]
[null,null,"场地交通安全设施合计"]
[null,null,"分部分项合计"]
[null,null,"措施项目"]
[null,null,"单价措施合计"]
{"$rows_empty":14}
["本页小计"]
["合   计"]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。"]
[{"$nulls":8},"表—08"]

{"sheet":"表-09 综合单价分析表（全费用）","index":2,"n_rows":22,"n_cols":20,"rows_kept":22,"merged":[[0,0,0,19],[1,0,1,10],[1,11,1,15],[1,16,1,19],[2,0,2,1],[2,2,2,3],[2,4,2,5],[2,6,2,9],[2,10,2,12],[2,13,2,14],[2,15,2,17],[2,18,2,19],[3,0,3,19],[4,0,5,0],[4,1,5,1],[4,2,5,2],[4,3,5,3],[4,4,4,11],[4,12,4,19],[5,10,5,11],[5,15,5,16],[6,10,6,11],[6,15,6,16],[7,0,7,1],[7,2,7,11],[7,15,7,16],[8,0,8,1],[8,2,8,11],[8,12,8,19],[9,0,9,11],[9,12,9,19],[10,0,19,0],[10,1,10,8],[10,10,10,11],[10,12,10,13],[10,14,10,16],[10,18,10,19],[11,1,11,8],[11,10,11,11],[11,12,11,13],[11,14,11,16],[11,18,11,19],[12,1,12,8],[12,10,12,11],[12,12,12,13],[12,14,12,16],[12,18,12,19],[13,1,13,8],[13,10,13,11],[13,12,13,13],[13,14,13,16],[13,18,13,19],[14,1,14,8],[14,10,14,11],[14,12,14,13],[14,14,14,16],[14,18,14,19],[15,1,15,8],[15,10,15,11],[15,12,15,13],[15,14,15,16],[15,18,15,19],[16,1,16,8],[16,10,16,11],[16,12,16,13],[16,14,16,16],[16,18,16,19],[17,1,17,8],[17,10,17,11],[17,12,17,13],[17,14,17,16],[17,18,17,19],[18,1,18,11],[18,12,18,13],[18,14,18,16],[18,18,18,19],[19,1,19,11],[19,12,19,13],[19,14,19,16],[19,18,19,19],[20,0,20,19],[21,0,21,10],[21,11,21,15],[21,16,21,19]]}
["综合单价分析表"]
["工程名称：",{"$nulls":10},"标段：",{"$nulls":4},"第  页  共  页"]
["项目编码",{"$nulls":3},"项目名称",{"$nulls":5},"计量单位",{"$nulls":4},"工程量"]
["清单综合单价组成明细"]
["定额编号","定额项目名称","定额\n单位","数量","单价",{"$nulls":7},"合价"]
[{"$nulls":4},"人工费","材料费","机具费","管理费","利润","规费","税金",null,"人工费","材料费","机具费","管理费",null,"利润","规费","税金"]
[]
["人工单价",null,"小计"]
["元/工日",null,"未计价材料费"]
["清单项目综合单价"]
["材\n料\n费\n明\n细","主要材料名称、规格、型号",{"$nulls":7},"单位","数量",null,"单价（元）",null,"合价（元）",null,null,"暂估单价\n（元）","暂估合价\n（元）"]
{"$rows_empty":7}
[null,"其他材料费",{"$nulls":10},"-",{"$nulls":4},"-"]
[null,"材料费小计",{"$nulls":10},"-",{"$nulls":4},"-"]
["注：1.如不使用省级或行业建设主管部门发布的计价依据，可不填定额编码、名称等；\n    2.招标文件提供了暂估单价的材料，按暂估的单价填入表内“暂估单价”栏及“暂估合价”栏。"]
[{"$nulls":16},"表-09"]

{"sheet":"表-21 承包人提供主要材料和工程设备一览表","index":3,"n_rows":35,"n_cols":11,"rows_kept":35,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,5],[2,6,2,7],[2,8,2,10],[3,5,3,6],[3,7,3,8],[4,5,4,6],[4,7,4,8],[5,5,5,6],[5,7,5,8],[6,5,6,6],[6,7,6,8],[7,5,7,6],[7,7,7,8],[8,5,8,6],[8,7,8,8],[9,5,9,6],[9,7,9,8],[10,5,10,6],[10,7,10,8],[11,5,11,6],[11,7,11,8],[12,5,12,6],[12,7,12,8],[13,5,13,6],[13,7,13,8],[14,5,14,6],[14,7,14,8],[15,5,15,6],[15,7,15,8],[16,5,16,6],[16,7,16,8],[17,5,17,6],[17,7,17,8],[18,5,18,6],[18,7,18,8],[19,5,19,6],[19,7,19,8],[20,5,20,6],[20,7,20,8],[21,5,21,6],[21,7,21,8],[22,5,22,6],[22,7,22,8],[23,5,23,6],[23,7,23,8],[24,5,24,6],[24,7,24,8],[25,5,25,6],[25,7,25,8],[26,5,26,6],[26,7,26,8],[27,5,27,6],[27,7,27,8],[28,5,28,6],[28,7,28,8],[29,5,29,6],[29,7,29,8],[30,5,30,6],[30,7,30,8],[31,5,31,6],[31,7,31,8],[32,5,32,6],[32,7,32,8],[33,0,33,10],[34,0,34,5],[34,6,34,7],[34,8,34,10]]}
["承包人提供主要材料和工程设备一览表"]
["(适用于造价信息差额调整法)"]
["工程名称：广州市公安局2021-2023年交通设施维护项目",{"$nulls":5},"标段：",null,"第 1 页  共 1 页"]
["序号","名称、规格、型号","单位","数量","风险系数\n(%)","基准单价\n（元）",null,"投标单价\n（元）",null,"发承包人\n确认单价\n(元)","备注"]
{"$rows_empty":29}
["注：1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\n    2.基准单价应优先采用工程造价管理机构发布的单价，未发布的，通过市场调查确定其基准单价。"]
[{"$nulls":8},"表-21"]